## Sheet1
A: Maintenance Services Charges/Month
S/N | Regions | *Price Per Month Per Site (AFN)
1 | KABUL + NINGARHAR+ Laghman +Parwan + Logar +Kapisa + Paktiya+ Ghazni + Khost
2 | NORTH
3 | HERAT & BADGHIS
4 | SOUTH (QDH, HLM, NMZ)
*Price (AFN) Per Month & Per Site (3 Visit in KBL & Two visit in Province)
CP Maintenance Parts:
S. | Description | Unit | Price (AFN) | Brand | Warranty (Yr/s)
No. |  |  |  | (Where Applicable) | Where Applicable
1 | CU electrical cable (4x10mm2) | 1-M
2 | CU electrical cable (4x16mm2) | 1-M
3 | CU electrical cable (4x25mm2) | 1-M
4 | CU electrical cable (4x35mm2) | 1-M
5 | CU electrical cable (4x50mm2) | 1-M
6 | CU electrical cable (4x70mm2) | 1-M
7 | CU electrical cable (4x95mm2) | 1-M
8 | Aluminum wire (1x35mm2) 20kv | 1-M
9 | Aluminum wire (1x50mm2) 20kv | 1-M
10 | Aluminum wire (1x70mm2) 20kv | 1-M
11 | Aluminum wire (1x95mm2) 20kv | 1-M
12 | Aluminum Wire (1x120mm2) 20kv | 1-M
13 | ABC Aluminum wire 4X16MM2 | 1-M
14 | ABC Aluminum wire 4X25MM2 | 1-M
15 | ABC Aluminum wire 4X50MM2 | 1-M
16 | ABC Aluminum wire 4X70MM2 | 1-M
17 | ABC Aluminum wire 4X95MM2 | 1-M
18 | ABC Aluminum wire 4X120MM2 | 1-M
19 | CU electrical cable (1x35mm2) 20kv | 1-M
20 | CU electrical cable (1x50mm2) 20kv | 1-M
21 | CU electrical cable (1x70mm2) 20Kv | 1-M
22 | CU electrical cable (1x95mm2) 20Kv | 1-M
23 | CU electrical cable (1x120mm2) 20Kv | 1-M
24 | SD 3P 25kVA Transformer | 1-PCS
25 | SD 3P 50kVA Transformer | 1-PCS
26 | 3P Energy Meter 5/100 Germany/ Turkey made or DABS recommended | 1-Box
with 100 A main switch and HRC Fuse 100A with DABS standard Box
27 | Flat concrete pole 12m | 1-PCS
28 | Flat concrete pole 9m | 1-PCS
29 | Mechanical cut out fuse 20kv | 1-Set
30 | Mechanical cut out switch with fuse 20kv | 1-Set
31 | Mechanical cut out switch (Shakhi Bozi) 20kv | 1-Set
32 | Mechanical cut out fuse 20kv | 1-PCS
33 | Lightening arrester 20kv with accessories | 1-Set
34 | Lightening arrester 20kv with accessories | 1-PCS
35 | Two side transformer plate with accessories 2.44m | 1-Set
36 | Galvanized cross arm with accessories 2.44m | 1-PCS
37 | Strap brace for cross arm | 1-PCS
38 | Ground rod with clamp | 1-PCS
39 | Engrow of ground & Pole PIT | 1-PCS
40 | Carbon & salt | 1-Set
41 | Excavation 80cm deep,30 width concert | 1-M
42 | Flexible pipe 2 inch | 1-M
43 | Galvanized pipe 2 inch | 1-M
44 | Pia pipe 2inch | 1-M
45 | Warning tap | 1-M
46 | Sand | 1-M3
47 | Stone | 1-M3
48 | Brick | 1-PCS
49 | Cement | 1-Pac
50 | Tension Cable | 1-PCS
51 | ABC Lock | 1-PCS
52 | Clamp | 1-PCS
53 | Tension insulator (0.4kV) | 1-PCS
54 | Pin type insulator (0.4kV) | 1-PCS
55 | Tension insulator (15-20kV) | 1-PCS
56 | Pin type insulator (15-20kV) | 1-PCS
57 | Current transformer 10/50A or DABS recommended | 1-Set
58 | Voltage transformer 20/100A or DABS recommended | 1-Set
59 | DB for CT/PT as per CT/PT size | 1-Box
60 | Cu grounding electrical cable 1x16mm2 | 1-M
61 | Cu grounding electrical cable 1x25mm2
62 | Cu grounding electrical cable 1x35mm2
63 | Cu grounding electrical cable 1x50mm2
64 | Iron Pole 12m | 1-PCS
65 | Iron Pole 9m
66 | Joint clip for 15-20 kv | 1-Set
67 | Official CP disconnection from DABS & all materials should be delivery to EA Provincial WH. | 1-Lot
68 | official Transformer 25/50/400kVA disconnection from DABS & Transportation (except DABS Tariff) | 1-Lot
69 | Removal of 12-14-9 M Pole and delivery ETA WH + makeup of removed place | 1-Lot
70 | Minor Transformer repair 25kVA till 50kVA | 1-PCS
71 | Major Transformer repair 25kVA till 50kVA | 1-PCS
72 | Critical Transformer repair 25kVA till 50kVA | 1-PCS
73 | On-Load Switch (12kVA 630A 25kVA) for compact, per DABS standard | 1-PCS
74 | DB Box for On-load switch | 1-Box
75 | Flat concrete pole 12-meter (800kg tension) | 1-PCS
76 | Flat concrete pole 14-meter (800kg tension) | 1-PCS
77 | 4 Unit Transformer Wheel with accessories | 4 Unit
78 | RCC Concrete for compact Transformer | 1-M3
79 | Supply and Installation of Sun Shed for compact Transformer | 1-M3
80 | Protection/Safety surrounding Fence with accessories | 1-M3
81 | Standard Grounding Well | 1-M3
82 | DB box with 63 A main breaker, 4 pole, with 3signal lights | 1-Box
83 | Tension cable (stick cable) | 1-M
84 | 16 mm2 (copper Cable lug) Temple | 1-PCS
85 | 25 mm2 (copper Cable lug) Tempole | 1-PCS
86 | 35 mm2 (copper Cable lug) Tempole | 1-PCS
87 | 50 mm2 (copper Cable lug) Tempole | 1-PCS
88 | 70 mm2 (copper Cable lug) Tempole
89 | 90 mm2 (copper Cable lug) Tempole
90 | 120 mm2 (copper Cable lug) Tempole
91 | Brackets | 1-PCS
92 | Pin tap insulator | 1-PCS
93 | Excavation 80cm deep 30 width | 1-M
94 | Cable +Meter + DB + Bracket + Accelerators + Lightening arrestors + Cut-out fuse +CT/PT/Etc. | 1-Lot
95 | Single Phase Meter Complete till installation (AFS) | 1-Lot
96 | Three Phase Meter Complete till installation 10/60 for all provinces | 1-PCS
97 | Three Phase Meter Complete till installation 5/100 | 1-PC
98 | Three Phase Meter Complete till installation 5/100 Provinces (HRT/KDZ/…) | 1-PC
99 | Tariff difference b/w 10/60 & 5/100 A meter (TAFAWOT-E-HAQUL IMTIAZ) | 1-Lot
100 | CT 15/20kV ( 1-PC) | 1-PCS
101 | CT 15/20kV (Set all capacity) | 1-PCS
102 | PT 15/20kV (1-PC) | 1-SET
103 | PT 15/20kV (Set all capacity) | 1-PCS
104 | CT 15/110kv ( 1-PC )/ 100/10Kv ( 1-PC ) | 1-PCS
105 | CT 15/110kv (Set all capacity) / 100/10Kv (Set all capacity) | 1-SET
106 | PT 15/110KV ( 1-PC )/ 100/10Kv ( 1-PC ) | 1-PCS
107 | PT 15/110KV (Set all capacity) / 100/10KV (Set all capacity) | 1-SET
108 | 125A DB for power meter | 1-SET
109 | TAROFA for Mechanical Electro Tester | 1-Box
110 | CT/PT.4kV (Set all capacity) | 1-Lot
111 | Transformer Oil (AFS/Liter) | 1-Set
112 | 15Kv & 0,4 Kv line Crane Charges | Lot
113 | 100A 3P main breaker | 1-PC
114 | 125A 3P main breaker | 1-PC
115 | Knife type 100A fuse | 1-PC
D: Spare Part List for 30KVA ELSAN AVR Outdoor Type
S/N | Items Name | Unit Price-AFN
1 | Repair of 10 KVA main Transformer Copper for ELSAN/ DELTA AVR
2 | Repair of .5KVA Circle Coil Fully Copper for ELSAN/DELTA AVR
3 | Repair of servo motor full copper for ELSAN/DELTA AVR
4 | Repair of electronic control module & voltmeter for ELSAN/DELTA
5 | Repair of Mustimeter for ELSAN/DELTA AVR
6 | Supply of 10KVA Main Transformer Copper for ELSAN/ DELTA AVR
7 | Supply of Servo Motor Full Copper for ELSAN AVR/DELTA
8 | Supply of Electronic Control Module & Voltmeter for ELSAN/DELTA AVR
9 | Supply of Mustimeter for ELSAN/DELTA AVR
10 | Supply of Cam Switch for ELSAN/DELTA AVR 6X63A
11 | Supply of Cam Switch for ELSAN/DELTA AVR 3X63A
12 | Supply of Electronic Control Card for ELSAN/DELTA AVR
13 | Supply of Digital Voltmeter for ELSAN/DELTA AVR
14 | Supply of Circuit Transformer for ELSAN/DELTA AVR
15 | Supply of Micro Switch for ELSAN/DELTA AVR
16 | Supply of Magnet Contactor 50A for ELSAN/DELTA AVR
17 | Supply of Signals for ELSAN/DELTA AVR
18 | Supply of Circuit Glass Fuse for ELSAN/DELTA AVR
19 | Supply of Circuit Coil Gearing for ELSAN/DELTA AVR
20 | Supply of W-Automatic Fuse 40A for ELSAN/DELTA AVR
21 | Supply of Connector for ELSAN/DELTA AVR
22 | Supply of Cooling Fans for ELSAN/DELTA AVR
E: EMU Stabilizer Spare Parts Fixing only
S/N | Description | Prices for Fixing only
1 | Kit, Busbar, Aluminum, for C & S Contactors, 32 kVA, IPMS, Net Smart 47F32I42 | FOC (Free of Cost)
2 | PCA - Alarm Expander Board Energy Management Unit | FOC (Free of Cost)
3 | PCA - Plug-in AVR Board for Common Controller, EMU | FOC (Free of Cost)
4 | PCA - Common Controller Input Output Interface Board, Energy Management Unit | FOC (Free of Cost)
5 | PCA - DCCT Board, S400D UPS | FOC (Free of Cost)
6 | PCA - Man Machine Interface Board, Energy Management Unit | FOC (Free of Cost)
7 | PCA - SMPS Board, Energy Management Unit | FOC (Free of Cost)
8 | Manufactured Board,MC4C52X1,MC4C52X1 Control broad | FOC (Free of Cost)
9 | Finished Board,MC4C52U11,MC4C52U11 Control Board,M524S | FOC (Free of Cost)
10 | Battery Charger, 10 Amp, Input 150 - 300 VAC, Output 13.4 - 14 VDC, CCCV Type | FOC (Free of Cost)
11 | Meter, AC Energy, Dual Source, 415 V, 3 Phase (4 Wire), Current Configurable 1 / 5 Amp, Aux Supply: 12 - 60 V DC, without Display and RS-485, DIN Rail Mounted | FOC (Free of Cost)
12 | Circuit Breaker, Miniature, 6 Amp, 230 / 400 Vac, 60 Vdc, 1 Pole, C Curve, 6 kA, DIN Mounting | FOC (Free of Cost)
13 | Circuit Breaker, Miniature, 16 Amp, 230 / 400 Vac, 60 Vdc, 1 Pole, C Curve, 6 kA, DIN Mounting | FOC (Free of Cost)
14 | Circuit Breaker, Miniature, 32 Amp, 230 / 400 Vac, 60 Vdc, 1 Pole, C Curve, 6 kA, DIN Mounting | FOC (Free of Cost)
15 | Circuit Breaker, Moulded Case, 80 Amp, 3 Pole, 415 Vac, 10 kA, Panel Mounted, with Spreader Terminals | FOC (Free of Cost)
16 | Circuit Breaker, Moulded Case, 125 Amp, 415 Vac, 3 Pole, 30 kA, Panel Mounting | FOC (Free of Cost)
17 | Contactor, 40 Amp (AC-1), 25 Amp (AC-3), 4 Pole, 415 V, Coil Voltage 48 VDC, DIN Mounted | FOC (Free of Cost)
18 | Contactor, 40 Amp (AC-1), 25 Amp (AC-3), 4 Pole, 415 V, Coil Voltage 220V AC, DIN Mounted | FOC (Free of Cost)
19 | Contactor, 50 Amp (AC-1), 25 Amp (AC-3), 4 Pole, 415 V, Coil Voltage 220V AC, DIN Mounted | FOC (Free of Cost)
20 | Contactor, Auxiliary Block, 2 Normal Close, Top Mounted | FOC (Free of Cost)
21 | Contactor, Auxiliary Block, 4 Normal Close, Top Mounted | FOC (Free of Cost)
22 | Transformer, Isolation, Copper, 1 Phase, 120 VA, 140V - 480 V / 220 V (+/-15%), Primary Control, Class F, 50 Hz, for AVR | FOC (Free of Cost)
23 | Current Transformer, Bar Primary, 100 Amp / 5 Amp, 1 VA, Accuracy Class 1 % | FOC (Free of Cost)
24 | Current Transformer, Bar Primary, 200 A / 1 A, 1 VA, Accuracy Class 0.5 %, ABS Plastic | FOC (Free of Cost)
25 | Kit, Flat Cable, 32 kVA, EMU, with 12.5 kVA SVR, Outdoor Unit, Indus | FOC (Free of Cost)
26 | Wire Harness, Control, Main, 32 kVA, EMU, with 12.5 kVA SVR, Outdoor Unit, Indus | FOC (Free of Cost)
27 | Wire Harness, Power, Main, 32 kVA, EMU, with 12.5 kVA SVR, Outdoor Unit, Indus | FOC (Free of Cost)
28 | Wire Harness, Temperature Sensor, 48V, DC Power System 5 Meter | FOC (Free of Cost)
29 | Wire Harness, Temperature Sensor, 48 V, DC Power System, Cable Length 1 Meter | FOC (Free of Cost)
30 | Cable Gland, Polyamide-6, Clamping Range 30-38 mm, Thread length 13 mm, Cutout size 54.5 mm, RoHS | FOC (Free of Cost)
31 | Lamp, LED, 48 V DC, 2.5 W, with Plastic Holder, for Outdoor Unit | FOC (Free of Cost)
32 | 48Vdc, Axial, Fan, - Pmd4812Pmb1.A2.Gn | FOC (Free of Cost)
33 | Gland, Cable Pg-21, with Lock nut | FOC (Free of Cost)
34 | Air Filter, 400 X 275 X 22 mm, Outdoor Enclosure | FOC (Free of Cost)
35 | Smoke Detector, Photoelctric, 60 uA Standby Current, 10-30 V DC, 80 uA Surge Current | FOC (Free of Cost)
36 | Assembly, Door Switch, RMD 955 010/13 | FOC (Free of Cost)
37 | Sealing Compound Panel Sika Flex 521uv (600 ml/Tube) | FOC (Free of Cost)
38 | MODEM | FOC (Free of Cost)
39 | Terminal Block, Corrosion Resistant Screw Clamp Type, DIN Rail Mounted, Pitch 12 mm, 6 Sq. mm to 25 Sq. mm, 115 Amp, 600 V, Black Colour, Polyamide 66 | FOC (Free of Cost)
40 | PCA - SVR Static Switch Driver Board, DC Power System | FOC (Free of Cost)
41 | Thyristor, Heat Sink Mounted, Module, 95 Amp Average, 190 Amp RMS, 1600 V, Semipack 1 | FOC (Free of Cost)
42 | Circuit Breaker, Miniature, 80 Amp, 230 / 400 Vac, 60 Vdc, 2 Pole, C Curve, 10 kA, DIN Mounting | FOC (Free of Cost)
43 | Assembly, RC Snubber, with Capacitor 0.1 uF, 1000 V, 10% and Resistor 100 Ohm / 1 W, for EMU | FOC (Free of Cost)
44 | Wire Harness, Control, SVR, Energy Management Unit 15 kVA | FOC (Free of Cost)
45 | Wire Harness, Power, for SVR, 32 kVA, EMU, with 10 kVA SVR, Outdoor Unit, Indus | FOC (Free of Cost)
46 | Fan, Axial, 4 Inch, 48 Vdc, 127 CFM, 2800 RPM, 120 X 120 X 38 mm | FOC (Free of Cost)
47 | Transformer, Isolation, Copper, 12.5 kVA (New), 240 - 480 V / 220 V (+/-10%), Class F, 50 Hz, for IPMS, Approved | FOC (Free of Cost)
48 | RECTIFIER - 3200 | FOC (Free of Cost)
49 | M523S controller | FOC (Free of Cost)
50 | M500S display | FOC (Free of Cost)
D: Spare Part List for 200KVA Edit Electronics AVR Outdoor Type
S/N | Items Name | Unit | Unit Price-AFN
1 | Thyristors 323 / 273 | PC
2 | Input Protection CB 320A | PC
3 | Output Control Contactor 275A | PC
4 | Manual Bypass Switch 250A | PC
5 | Mainboard 3X3 SMD | PC
6 | Thyristor Driver Board 3 X 3 | PC
7 | LCD Board 3PH | PC
8 | Snubber Board Small | PC